## MASTER
No. | Group | Equipment Code | Equipment | Manufacturer | Model | Serial No. | Certificate No. | Perform Date | Due Date | Institute
1 | 1 | T1-SYRC002 | Calibration Syringe | KOKO | 3 Liter | 553-42538 | 25MD1056 | 17 Jun 2025 | 16 Jun 2026 | TECHNOLOGY PROMOTION ASSOCIATION
2 | 1 | T1-TEMD016 | Data Logger | Omega | OM-CP-HITEMP140 | R25518 | 25I675 | 23 Jun 2025 | 22 Jun 2026 | TECHNOLOGY PROMOTION ASSOCIATION
3 | 1 | T1-DEFA002 | Defibrillator / Transcutaneous Pacer Analyzer | Fluke | Impulse 7000DP | 2079335 | 25MD1070 | 18 Jun 2025 | 17 Jun 2026 | TECHNOLOGY PROMOTION ASSOCIATION
4 | 1 | T1-TRAC003 | Digital Force Gauge | Sundoo | SH-1K | 5A52111102 | - | - | -
5 | 1 | T1-TRAC012 | Digital Force Gauge | Sundoo | SH-1K | 5A23G02762 | 25B334 | 10 Jun 2025 | 9 Jun 2026 | TECHNOLOGY PROMOTION ASSOCIATION
6 | 1 | T1-OSCI002 | Digital Storage Oscilloscope | RIGOL | DS 5102CA | DS510200070185 | - | - | -
7 | 1 | T1-TACH002 | Digital Tachometer | Monarch | PLT200 | 1837601 | 25E1913 | 12 Jun 2025 | 11 Jun 2026 | TECHNOLOGY PROMOTION ASSOCIATION
8 | 1 | T1-ELSA002 | Electrical Safety Analyzer | Fluke | ESA615 | 3494034 | 25MD1057 | 12 Jun 2025 | 11 Jun 2026 | TECHNOLOGY PROMOTION ASSOCIATION
9 | 1 | T1-WINJ001 | ELECTRONIC BALANCE | Shinko Denshi(VIBRA) | AB623 | 190022518 | EB25062841 | 10 Jun 2025 | 9 Jun 2026 | NATIONAL HEALTHCARE SYSTEMS CO.,LTD.
10 | 1 | T1-ELEA009 | Electrosurgery Analyzer | Fluke Biomedical | QA-ES III | 5728726 | 25MD1060 | 16 Jun 2025 | 15 Jun 2026 | TECHNOLOGY PROMOTION ASSOCIATION
11 | 1 | ELEA002 | Electrosurgical Analyzer | Fluke | QA-ES II | 201303 | - | - | -
12 | 1 | T1-FETM002 | Fetal Simulator | Fluke | PS-320 | 2091154 | 25MD1069 | 17 Jun 2025 | 16 Jun 2026 | TECHNOLOGY PROMOTION ASSOCIATION
13 | 1 | T1-FETM009 | Fetal Simulator | FLUKE | PS-320 | 6368028 | 25MD1050 | 13 Jun 2025 | 12 Jun 2026 | TECHNOLOGY PROMOTION ASSOCIATION
14 | 1 | T1-FLOT015 | FLOW METER TESTER | IMT | F1 | BG000187 | 25MD439 | 24 Mar 2025 | 23 Mar 2026 | TECHNOLOGY PROMOTION ASSOCIATION
15 | 1 | T1-FLOT002 | Flowmeter Tester | Drycal | Defender 510 | 118211 | - | - | -
16 | 1 | T1-GASA002 | Gas Flow Analyzer | Fluke Biomedical | VT PLUS HF | 2105219 | - | - | -
17 | 1 | T1-GASA013 | Gas Flow Analyzer | Fluke Biomedical | VT650 | 6069725 | 25MD1053 | 16 Jun 2025 | 15 Jun 2026 | TECHNOLOGY PROMOTION ASSOCIATION
18 | 1 | T1-GASI002 | Gas Indicator | Riken | FI-21 | 226040008ES | - | - | -
19 | 1 | T1-GASI008 | Gas Indicator | Fluke | FI-8000 | 52N0477501 | 25MD1049 | 18 Jun 2025 | 17 Jun 2026 | TECHNOLOGY PROMOTION ASSOCIATION
20 | 1 | HEIC002 | Height Calibrator | BOSCH | GLM 40 | 222232994 | D25-0153 | 9 Jul 2025 | 8 Jul 2026 | UNITHAI GROUP
21 | 1 | T1-HYGT005 | Hygro-Thermometer | Lutron | MHB-382SD | B014460 | TH25062839 | 20 Jun 2025 | 19 Jun 2026 | NATIONAL HEALTHCARE SYSTEMS CO.,LTD.
22 | 1 | T1-INCU001 | INCUBATOR AND RADIANT WARMER ANALYZER | FLUKE BIOMEDICAL | INCU II | 54850013 | L202506220 | 20 Jun 2025 | 19 Jun 2026 | MIRACLE INTERNATIONAL TECHNOLOGY
23 | 1 | T1-INPT015 | Infusion Device Analyzer | Fluke Biomedical | IDA-5 | 5640070 | 25MD1059 | 17 Jun 2025 | 16 Jun 2026 | TECHNOLOGY PROMOTION ASSOCIATION
24 | 1 | T1-INPT017 | Infusion Pump Tester | RIGEL Medical | Multi-Flo | 23Q-1412 | 25MD1058 | 6 Jun 2025 | 5 Jun 2026 | TECHNOLOGY PROMOTION ASSOCIATION
25 | 1 | T1-LUXM002 | LUX Meter | Extech | EA-33 | 160205910 | - | - | -
26 | 1 | T1-LUXM010 | LUX Meter | Extech | EA-33 | 250105964 | l25-0003 | 20 Mar 2025 | 19 Mar 2026 | UNITHAI GROUP
27 | 1 | T1-ULTR002 | MULTI-PURPOSE, MULTI-TISSUE ULTRASOUND PHANTOM | CIRS | 040GSE | 233199260 | CALPM06250024 | 30 Jun 2025 | 29 Jun 2026 | NHEALTH
28 | 1 | T1-OXYA002 | Oxygen Analyzer | Maxtec | MAXO2 | YJ46599005 | 25MD1121 | 26 Jun 2025 | 25 Jun 2026 | TECHNOLOGY PROMOTION ASSOCIATION
29 | 1 | T1-PHOT002 | Phototherapy Radiometer | Fluke | Dale 40 | 2094041 | 25MD1051 | 9 Jun 2025 | 8 Jun 2026 | TECHNOLOGY PROMOTION ASSOCIATION
30 | 1 | T1-PHOT008 | Phototherapy Radiometer | IRRADIAN | PR203 | D020/0045 | 25MD1048 | 9 Jun 2025 | 8 Jun 2026 | TECHNOLOGY PROMOTION ASSOCIATION
31 | 1 | T1-PART006 | Pressure Calibrator | Fluke | 717-30G | 2881008 | - | - | -
32 | 1 | T1-PART013 | Pressure Calibrator | Fluke | 717 30G | 5730135 | 25P2281 | 9 Jun 2025 | 8 Jun 2026 | TECHNOLOGY PROMOTION ASSOCIATION
33 | 1 | T1-PRED009 | Pressure Datalogger | Omega | OM-CP-PR140 | R29848 | 25P2385 | 17 Jun 2025 | 16 Jun 2026 | TECHNOLOGY PROMOTION ASSOCIATION
34 | 1 | T1-STOW002 | Quartz Stop Watch | FBT | JS-7065 | - | 25E1811 | 5 Jun 2025 | 4 Jun 2026 | TECHNOLOGY PROMOTION ASSOCIATION
35 | 1 | T1-SOLM002 | Sound Level Meter | BK Precision | 732A | 118A12104 | 25E5323 | 11 Jun 2025 | 10 Jun 2026 | QUALITY CALIBRATION
36 | 1 | T1-WEIS004 | Standard Weight 1 g to 500 g | Mettler Toledo | E2, 1 g - 500 g | B235266152 | 25M1072 | 10 Jun 2025 | 9 Jun 2026 | TECHNOLOGY PROMOTION ASSOCIATION
37 | 1 | T1-WEIS002 | Standard Weight 1 kg to 20 kg | LS | M3, 1kg - 120 kg | - | 25M1068 | 9 Jun 2025 | 8 Jun 2026 | TECHNOLOGY PROMOTION ASSOCIATION
38 | 1 | T1-TEMC001 | Temperature Calibrator (Source) | Ametex | ATC-140A | 561460-00403 | WB25062840 | 10 Jun 2025 | 9 Jun 2026 | NATIONAL HEALTHCARE SYSTEMS CO.,LTD.
39 | 1 | TEMT002 | Temperature Tester | Fluke | 54IIB | 20500016 | - | - | -
40 | 1 | T1-TEMT014 | Temperature Tester | TESTO | 440 dP | 83962413 | DT25062837 | 28 Jun 2025 | 27 Jun 2026 | NATIONAL HEALTHCARE SYSTEMS CO.,LTD.
41 | 1 | T1-POUP002 | Ultrasound Power Meter | Ohmico | UPM-DT-10 | 2448 | 25MD1052 | 18 Jun 2025 | 17 Jun 2026 | TECHNOLOGY PROMOTION ASSOCIATION
42 | 1 | T1-VTSS002 | Vital Signs Simulator | Fluke | ProSim8 | 2541031 | 25MD1055 | 13 Jun 2025 | 12 Jun 2026 | TECHNOLOGY PROMOTION ASSOCIATION
43 | 2 | T2-DEFA003 | Defibrillator Analyzer | Fluke | Impulse 7000DP | 2568027 | - | - | -
44 | 2 | T2-TRAC007 | Digital Force Gauge | SUNDOO | SH-1K | 5A17L01884 | - | - | -
45 | 2 | T2-OSCI008 | Digital Oscilloscope | RIGOL | DS1102E | DS1ET232302218 | - | - | -
46 | 2 | T2-TACH003 | Digital Tachometer | Wachendorff | PLT200 | 1844737 | - | - | -
47 | 2 | T2-ELSA003 | Electrical Safety Analyzer | Fluke | ESA615 | 2554042 | - | - | -
48 | 2 | T2-ELEA003 | Electrosurgical Analyzer | Fluke | QA-ES II | 201766 | - | - | -
49 | 2 | T2-FETM003 | Fetal Simulator | Fluke | PS-320 | 2575061 | - | - | -
50 | 2 | FLOT010 | FLOWMETER TESTER | DRYCAL | DEFENDER 510 | 176922 | - | - | -
51 | 2 | T2-FLOT012 | FLOWMETER TESTER | DRYCAL | DEFENDER 510-H | 205881 | - | - | -
52 | 2 | T2-GASA003 | Gas Analyzer | Fluke | VTPLUS HF | 2575251 | - | - | -
53 | 2 | T2-GASI003 | Gas Indicator | Riken | FI-21 | 3X8030077ES | - | - | -
54 | 2 | T2-HYGT003 | Hygro-Thermometer | Lutron | MHB-382SD | B012330 | - | - | -
55 | 2 | T2-HYGT016 | HYGRO-THERMOMETER | Testo | 623 | 39613969/005 | - | - | -
56 | 2 | T2-INFR002 | Infrared Temperature Calibrator | TEMPSENS | CALsys 37BB | C37BB/2020/181 | - | - | -
57 | 2 | T2-INPT014 | INFUSION PUMP TESTER | FLUKE | IDA-5 | 5034059 | - | - | -
58 | 2 | T2-LUXM003 | LUX Meter | Extech | EA-33 | 160205902 | - | - | -
59 | 2 | OSCI003 | Oscilloscope | RIGOL | DS 5102CA | D5S10200070155 | - | - | -
60 | 2 | T2-OXYA006 | Oxygen Analyzer | Maxtec | MAXO2+ | GB64099002 | - | - | -
61 | 2 | T2-PHOT003 | Phototherapy Radiometer | Fluke | Dale 40 | 2540029 | - | - | -
62 | 2 | T2-PHOT009 | Phototherapy Radiometer | IRRADIAN | PR203 | D020/0063 | 25MD659 | 8 Apr 2025 | 7 Apr 2026 | TECHNOLOGY PROMOTION ASSOCIATION
63 | 2 | T2-POUP007 | PORTABLE ULTRASOUND POWER METER | OHMICO | UPM-DT-10 | 9013PA1207 | - | - | -
64 | 2 | T2-PART010 | Pressure Calibrator | Fluke | 717 30G | 3938321 | - | - | -
65 | 2 | T2-PART016 | Pressure Calibrator | Fluke | 717 30G | 6227520 | - | - | -
66 | 2 | T2-PRED014 | Pressure Datalogger | Omega | OM-CP-PR140 | 25P1597 | 25P1597 | 28 Apr 2025 | 27 Apr 2026 | TECHNOLOGY PROMOTION ASSOCIATION
67 | 2 | T2-SOLM003 | Sound Level Meter | BK Precision | 732A | 118B131114 | - | - | -
68 | 2 | T2-STOW003 | Stop watch | FBT | JS-7065 | - | - | - | -
69 | 2 | T2-SYRC003 | Syringe Calibrator | KOKO | 3 Liter | 553-42539 | - | - | -
70 | 2 | T2-TEMC004 | Temperature Calibrator (Source) | Ametex | RTC-158A | 616607-00284 | - | - | -
71 | 2 | T2-TEMT003 | Temperature Tester | Fluke | 54IIB | 20500017 | - | - | -
72 | 2 | T2-TEMD007 | Themperature, Data logger | Omega | OM-CP-Hitemp 140-TSK | P46585 | - | - | -
73 | 2 | T2-VTSS003 | Vitalsign Simulator | Fluke | ProSim8 | 2848057 | - | - | -
74 | 2 | T2-VTSS009 | Vitalsign Simulator | Fluke | ProSim8 | 6088033 | - | - | -
75 | 2 | T2-WINJ002 | WEIGHT SCALE FOR INJECTOR | Shinko Denshi(VIBRA) | AJ-620E | 211004088 | - | - | -
76 | 2 | T2-WEIS001 | Weight Set LAB (F1, 50mg - 500g) | LS | F1, 50mg - 500g | - | - | - | -
77 | 2 | T2-WEIS007 | Weight Set (M3, 1kg - 120 kg) | Mettler Toledo | M3, 1kg - 120 kg | - | - | - | -
78 | 3 | T3-DEFA004 | Defibrillator Analyzer | Fluke | Impulse 7000DP | 2849004 | 24MD2091 | 26 Dec 2024 | 26 Dec 2025 | TECHNOLOGY PROMOTION ASSOCIATION
79 | 3 | T3-TRAC010 | Digital Force Gauge | Sundoo | SH-1K | 5A22A02531 | - | - | -
80 | 3 | T3-TRAC013 | Digital Force Gauge | GRAIGAR | HF-2K | 420701100X | 24B735 | 19 Dec 2024 | 19 Dec 2025 | TECHNOLOGY PROMOTION ASSOCIATION
81 | 3 | T3-OSCI009 | Digital Oscilloscope | RIGOL | DS1102Z-E | DS1ZE264511666 | EL02154/25 | 16 Jan 2025 | 15 Jan 2026 | PROFESSIONAL CALIBRATION & SEVICE
82 | 3 | T3-TACH004 | Digital Tachometer | Monarch | PLT200 | 1857557 | 24E3897 | 16 Dec 2024 | 16 Dec 2025 | TECHNOLOGY PROMOTION ASSOCIATION
83 | 3 | T3-ELSA004 | Electrical Safety Analyzer | Fluke | ESA615 | 2856013 | 24MD2088 | 26 Dec 2024 | 26 Dec 2025 | TECHNOLOGY PROMOTION ASSOCIATION
84 | 3 | T3-ELEA004 | Electrosurgical Analyzer | Fluke | QA-ES II | 202111 | 24MD2092 | 25 Dec 2024 | 25 Dec 2025 | TECHNOLOGY PROMOTION ASSOCIATION
85 | 3 | T3-FETM004 | Fetal Simulator | Fluke | PS-320 | 2834021 | 24MD2089 | 26 Dec 2024 | 26 Dec 2025 | TECHNOLOGY PROMOTION ASSOCIATION
86 | 3 | FLOT006 | Flowmeter Tester | Mesalabs | Defender 501 II | 147290 | - | - | -
87 | 3 | T3-FLOT013 | FLOWMETER TESTER | DRYCAL | DEFENDER 510-H | 208609 | 25MD75 | 8 Jan 2025 | 8 Jan 2026 | TECHNOLOGY PROMOTION ASSOCIATION
88 | 3 | T3-GASA004 | Gas Analyzer | Fluke | VTPLUS HF | 2867002 | - | - | -
89 | 3 | T3-GASI004 | Gas Indicator | Riken | FI-21 | 478050100ES | 25MD115 | 9 Jan 2025 | 9 Jan 2026 | TECHNOLOGY PROMOTION ASSOCIATION
90 | 3 | T3-HYGT004 | Hygro-Thermometer | Lutron | MHB-382SD | B014457 | - | - | -
91 | 3 | T3-INFR004 | Infrared Temperature Calibrator | TEMPSENS | CALsys37BB | C/37BB/2021/552 | T24-0549 | 18 Sep 2024 | 18 Sep 2025 | UNITHAI GROUP
92 | 3 | T3-INPT004 | Infusion Pump Tester | Fluke | IDA 1S | 2892010 | 24MD2083 | 26 Dec 2024 | 26 Dec 2025 | TECHNOLOGY PROMOTION ASSOCIATION
93 | 3 | T3-INPT005 | Infusion Pump Tester | Fluke | IDA 1S | 2892014 | 24MD2084 | 25 Dec 2024 | 25 Dec 2025 | TECHNOLOGY PROMOTION ASSOCIATION
94 | 3 | T3-LUXM004 | LUX Meter | Extech | EA-33 | 160205882 | 24PH631 | 16 Dec 2024 | 16 Dec 2025 | TECHNOLOGY PROMOTION ASSOCIATION
95 | 3 | T3-OSCI004 | Oscilloscope | RIGOL | DS 5102CA | DS510200070161 | - | - | -
96 | 3 | T3-OXYA007 | Oxygen Analyzer | Maxtec | MAXO2+ | GB50899039 | 25MD101 | 8 Jan 2025 | 8 Jan 2026 | TECHNOLOGY PROMOTION ASSOCIATION
97 | 3 | T3-PHOT004 | Phototherapy Radiometer | Fluke | Dale 40 | 2850025 | 24MD2082 | 27 Dec 2024 | 27 Dec 2025 | TECHNOLOGY PROMOTION ASSOCIATION
98 | 3 | T3-PHOT010 | Phototherapy Radiometer | IRRADIAN | PR203 | D020/0064 | 25MD658 | 8 Apr 2025 | 7 Apr 2026 | TECHNOLOGY PROMOTION ASSOCIATION
99 | 3 | T3-POUP004 | Portable Ultrasound Power Meter | Ohmico | UPM-DT-10 | 90131013 | 24MD2085 | 30 Dec 2024 | 30 Dec 2025 | TECHNOLOGY PROMOTION ASSOCIATION
100 | 3 | PART007 | Pressure Calibrator | Fluke | 717-30G | 2881010 | - | - | -
101 | 3 | T3-PART014 | Pressure Calibrator | Fluke | 717 30G | 6087518 | 24P4270 | 24 Dec 2024 | 24 Dec 2025 | TECHNOLOGY PROMOTION ASSOCIATION
102 | 3 | T3-PRED011 | Pressure Datalogger | Omega | OM-CP-PR140 | S61806 | - | - | -
103 | 3 | T3-STOW008 | Quartz Stop watch | Casio | HS-80TW | - | 24E3898 | 16 Dec 2024 | 16 Dec 2025 | TECHNOLOGY PROMOTION ASSOCIATION
104 | 3 | T3-SOLM004 | Sound Level Meter | BK Precision | 732A | 118I13118 | 25E0063 | 8 Jan 2025 | 8 Jan 2026 | QUALITY CALIBRATION
105 | 3 | T3-SYRC004 | Syringe Calibrator | KOKO | 3 Liter | 553-42540 | 25MD97 | 8 Jan 2025 | 8 Jan 2026 | TECHNOLOGY PROMOTION ASSOCIATION
106 | 3 | T3-TEMC005 | Temperature Calibrator (Source) | Ametex | RTC-158A | 616607-00286 | T25-0052 | 15 Jan 2025 | 15 Jan 2026 | UNITHAI GROUP
107 | 3 | TEMT005 | Temperature Tester | Fluke | 54IIB | 25380014WS | - | - | -
108 | 3 | T3-TEMT013 | Temperature Tester | TESTO | 440 dP | 83964063 | DT25010083 | 9 Jan 2025 | 9 Jan 2026 | NATIONAL HEALTHCARE SYSTEMS CO.,LTD.
109 | 3 | T3-TEMT013(HYGRO) | Temperature Tester | TESTO | 440 dp | 83964063 | TH25010084 | 9 Jan 2025 | 9 Jan 2026 | NATIONAL HEALTHCARE SYSTEMS CO.,LTD.
110 | 3 | T3-TEMD006 | Themperature, Data logger | Omega | OM-CP-Hitemp 140-TSK | P48017 | 24I1352 | 20 Dec 2024 | 20 Dec 2025 | TECHNOLOGY PROMOTION ASSOCIATION
111 | 3 | T3-VTSS004 | Vitalsign Simulator | Fluke | ProSim8 | 2848050 | 24MD2090 | 25 Dec 2024 | 25 Dec 2025 | TECHNOLOGY PROMOTION ASSOCIATION
112 | 3 | T3-WEIS009 | Weight Set (M3, 1kg - 120 kg) | LS | M3, 1kg - 120 kg | - | 24M2372 | 20 Dec 2024 | 20 Dec 2025 | TECHNOLOGY PROMOTION ASSOCIATION
113 | 3 | T3-WEIS010 | Weight Set LAB (E2, 1 g - 500 g) | Mettler Toledo | E2, 1 g - 500 g | B440106987 | 24M2373 | 20 Dec 2024 | 20 Dec 2025 | TECHNOLOGY PROMOTION ASSOCIATION
114 | 3 | WEIS011 | Weight Set LAB (E2, 1 mg - 500 mg) | Mettler Toledo | E2, 1 mg - 500 mg | B440101190 | - | - | -
115 | 3 | T3-WINJ003 | WEIGHT SCALE FOR INJECTOR | Shinko Denshi(VIBRA) | AJ-620E | 211004018 | 24-167454 | 25 Dec 2024 | 25 Dec 2025 | AMARC
116 | 4 | T4-PATS001 | 4 Channel Patient Simulator | Metron | PS-440 | 44437 | 25MD1123 | 24 Jun 2025 | 23 Jun 2026 | TECHNOLOGY PROMOTION ASSOCIATION
117 | 4 | T4-TEMD021 | Data Logger | Omega | OM-CP-HITEMP140 | T15531 | 25I505 | 5 May 2025 | 4 May 2026 | TECHNOLOGY PROMOTION ASSOCIATION
118 | 4 | T4-TEMD009 | Data logger with Sensor | Omega | OM-CP-Hitemp140 | P89713 | - | - | -
119 | 4 | T4-DEFA005 | Defibrillator / Transcutaneous Pacer Analyzer | Fluke | Impulse 7000DP | 3519064 | 25MD839 | 14 May 2025 | 13 May 2026 | TECHNOLOGY PROMOTION ASSOCIATION
120 | 4 | T4-TRAC011 | Digital Force Gauge | Sundoo | SH-1K | 5A22A02533 | 25B266 | 9 May 2025 | 8 May 2026 | TECHNOLOGY PROMOTION ASSOCIATION
121 | 4 | T4-TACH006 | Digital Tachometer | MONACH | PLT200 | 1943879 | 25E1552 | 15 May 2025 | 14 May 2026 | TECHNOLOGY PROMOTION ASSOCIATION
122 | 4 | T4-HYGT010 | Digital Thermo-Hygrometer | Lutron | MHB-382SD | AI.50893 | - | - | -
123 | 4 | T4-HYGT015 | Digital Thermo-Hygrometer | TESTO | 623 | 39612658/907 | TH25052579 | 24 May 2025 | 23 May 2026 | NATIONAL HEALTHCARE SYSTEMS CO.,LTD.
124 | 4 | T4-TEMT006 | Digital Thermometer with Sensor TC | Fluke | 54IIB | 3320038WS | DT25052578 | 27 May 2025 | 26 May 2026 | NATIONAL HEALTHCARE SYSTEMS CO.,LTD.
125 | 4 | T4-ELSA006 | Electrical Safety Analyzer | Fluke | ESA612 | 2093050 | 25MD849 | 22 May 2025 | 21 May 2026 | TECHNOLOGY PROMOTION ASSOCIATION
126 | 4 | T4-ELEA005 | Electrosurgical Analyzer | Fluke | QA-ES II | 202620 | 25MD810 | 22 May 2025 | 21 May 2026 | TECHNOLOGY PROMOTION ASSOCIATION
127 | 4 | T4-FETM005 | Fetal Simulator | Fluke | PS320 | 3494024 | 25MD847 | 22 May 2025 | 21 May 2026 | TECHNOLOGY PROMOTION ASSOCIATION
128 | 4 | T4-FLOT008 | Flow meter Tester | Mesalabs | Defender 510 H | 174663 | 25MD848 | 24 May 2025 | 23 May 2026 | TECHNOLOGY PROMOTION ASSOCIATION
129 | 4 | T4-GASA011 | Gas Flow Analyzer | Fluke Biomedical | VT650 | 5553001 | 25MD840 | 26 May 2025 | 25 May 2026 | TECHNOLOGY PROMOTION ASSOCIATION
130 | 4 | T4-GASI005 | Gas Indicator | Fluke | FI-8000 | 53G0118301 | 25MD846 | 27 May 2025 | 26 May 2026 | TECHNOLOGY PROMOTION ASSOCIATION
131 | 4 | T4-INFR005 | Infrared Temperature Calibrator | TEMPSENS | CALsys 37BB-B | C/37BB/2023/105 | T25-0261 | 27 May 2025 | 26 May 2026 | UNITHAI GROUP
132 | 4 | T4-INPT006 | Infusion Device Analyzer | Fluke | IDS 1S | 3518050 | 25MD838 | 13 May 2025 | 12 May 2026 | TECHNOLOGY PROMOTION ASSOCIATION
133 | 4 | T4-INPT007 | Infusion Device Analyzer | Fluke | IDS 1S | 3518049 | 25MD837 | 13 May 2025 | 12 May 2026 | TECHNOLOGY PROMOTION ASSOCIATION
134 | 4 | T4-LUXM005 | LUX Meter | Extech | EA-33 | 190101931 | 25PH252 | 9 May 2025 | 8 May 2026 | TECHNOLOGY PROMOTION ASSOCIATION
135 | 4 | T4-LUXM009 | LUX Meter | Extech | EA-33 | 250105966 | l25-0004 | 20 Mar 2025 | 19 Mar 2026 | UNITHAI GROUP
136 | 4 | T4-NIBA001 | Non-Invasive Blood Pressure Analyzer | Fluke | Cufflink | 9109014 | - | - | -
137 | 4 | T4-OSCI005 | Oscilloscope | Gwinstek | GDS-1102-U | GEO210584 | 25E1464 | 8 May 2025 | 7 May 2026 | TECHNOLOGY PROMOTION ASSOCIATION
138 | 4 | T4-OXYA008 | Oxygen Analyzer | Maxtec | MAXO2+ | GB64099001 | - | - | -
139 | 4 | T4-PHOT005 | Phototherapy Radiometer | Fluke | DALE40 | 3511060 | 25MD841 | 9 May 2025 | 8 May 2026 | TECHNOLOGY PROMOTION ASSOCIATION
140 | 4 | T4-PHOT011 | Phototherapy Radiometer | IRRADIAN | PR203 | D020/0065 | 25MD661 | 8 Apr 2025 | 7 Apr 2026 | TECHNOLOGY PROMOTION ASSOCIATION
141 | 4 | T4-PART009 | Pressure Calibrator | Fluke | 717-30G | 3562054 | 25P1938 | 19 May 2025 | 18 May 2026 | TECHNOLOGY PROMOTION ASSOCIATION
142 | 4 | T4-PRED005 | Pressure Data logger | Omega | OM-CP-PR140-NPT | P95847 | - | - | -
143 | 4 | T4-PRED013 | Pressure Datalogger | Omega | OM-CP-PR140 | T19976 | 25P1600 | 29 Apr 2025 | 28 Apr 2026 | TECHNOLOGY PROMOTION ASSOCIATION
144 | 4 | T4-SOLM006 | Sound Level Meter | BK Precision | 732A | 118B49105 | 25E5447 | 11 Jun 2025 | 10 Jun 2026 | QUALITY CALIBRATION
145 | 4 | T4-WEIS015 | Standard Weight (1 g - 500 g) | METTLER TOLEDO | (1 g-500 g) | 158880 | 25M881 | 9 May 2025 | 8 May 2026 | TECHNOLOGY PROMOTION ASSOCIATION
146 | 4 | T4-WEIS012 | Standard Weight (1kg - 120 kg) | LS | Class M3 | I1K3719-16 to I20K3728-16 | 25M879 | 8 May 2025 | 7 May 2026 | TECHNOLOGY PROMOTION ASSOCIATION
147 | 4 | T4-STOW005 | Stop Watch | Casio | HS-80TW | - | 25E1463 | 8 May 2025 | 7 May 2026 | TECHNOLOGY PROMOTION ASSOCIATION
148 | 4 | T4-SYRC005 | Syringe Calibrator | KOKO | Germany 234 GmbH | 95800190 | 25MD842 | 27 May 2025 | 26 May 2026 | TECHNOLOGY PROMOTION ASSOCIATION
149 | 4 | T4-TEMC011 | Temperature Calibrator (Source) | Ametek | CTC-155C | 654975-00232 | T25-0260 | 22 May 2025 | 21 May 2026 | UNITHAI GROUP
150 | 4 | T4-POUP005 | Ultrasound Power Meter | Ohmico | UPM-DT-10 | 9013PA1011 | 25MD836 | 16 May 2025 | 15 May 2026 | TECHNOLOGY PROMOTION ASSOCIATION
151 | 4 | T4-VTSS005 | Vital Signs Simulator | Fluke | ProSim8 | 3520033 | - | - | -
152 | 5 | T5-DEFA006 | DEFIBRILLATOR ANALYZER | RIGEL MEDICAL | UNI PULSE 400 | 40K-0607 | 25MD652 | 8 Apr 2025 | 7 Apr 2026 | TECHNOLOGY PROMOTION ASSOCIATION
153 | 5 | T5-TRAC008 | Digital Force Gauge | SUNDOO | SH-1K | 5A19K02164 | 25B206 | 3 Apr 2025 | 2 Apr 2026 | TECHNOLOGY PROMOTION ASSOCIATION
154 | 5 | T5-OSCI006 | Digital oscilloscope | Rigol | DSE1102E | DS1ET204309584 | 25E1111 | 3 Apr 2025 | 2 Apr 2026 | TECHNOLOGY PROMOTION ASSOCIATION
155 | 5 | T5-TACH008 | DIGITAL TACHOMETER | MONARCH | PLT200 | 1945954 | 25E1090 | 2 Apr 2025 | 1 Apr 2026 | TECHNOLOGY PROMOTION ASSOCIATION
156 | 5 | T5-HYGT025 | Digital Thermo-Hygrometer | Testo | 608-H1 | 85218662 | H25-0008 | 21 Jan 2025 | 20 Jan 2026 | QUALITY CALIBRATION
157 | 5 | T5-ELSA010 | Electrical Safety Analyzer | Fluke | ESA612 | 5636046 | 25MD646 | 1 Apr 2025 | 1 Apr 2026 | TECHNOLOGY PROMOTION ASSOCIATION
158 | 5 | T5-ELSA007 | ELECTRICAL SAFETY ANALYZER | RIGEL MEDICAL | 288 PULSE | 45K-0966 | 25MD645 | 1 Apr 2025 | 1 Apr 2026 | TECHNOLOGY PROMOTION ASSOCIATION
159 | 5 | T5-WINJ004 | ELECTRONIC BALANCE | T-SCALE | EHB-600++ | 109030031007 | 25M0527 | 15 Jan 2025 | 14 Jan 2026 | QUALITY CALIBRATION
160 | 5 | T5-ELEA007 | Electrosurgical Analyzer | Rigel | 398A910 | 18L-0050 | 25MD648 | 1 Apr 2025 | 1 Apr 2026 | TECHNOLOGY PROMOTION ASSOCIATION
161 | 5 | T5-FETM007 | FETAL SIMULATOR | FLUKE BIOMEDICAL | PS320 | 4681038 | 25MD650 | 17 Apr 2025 | 16 Apr 2026 | TECHNOLOGY PROMOTION ASSOCIATION
162 | 5 | FLOT009 | Flowmeter Tester | Mesalabs | Defender 510 | 174664 | - | - | -
163 | 5 | T5-FLOT014 | FLOWMETER TESTER | DRYCAL | DEFENDER 510-H | 208610 | 25MD649 | 16 Apr 2025 | 15 Apr 2026 | TECHNOLOGY PROMOTION ASSOCIATION
164 | 5 | T5-GASA009 | GAS ANALYZER | CITREX H5 | IMT MEDICAL | BB101897 | - | - | -
165 | 5 | GASA007 | GAS ANALYZER | IMT MEDICAL | CITREX H3 | BB101799 | - | - | -
166 | 5 | T5-GASA012 | Gas Flow Analyzer | Fluke Biomedical | VT650 | 6082724 | 25MD657 | 16 Apr 2025 | 15 Apr 2026 | TECHNOLOGY PROMOTION ASSOCIATION
167 | 5 | T5-GASI006 | Gas Indicator | Reken | FI-8000 | 51H0304601 | 25MD647 | 16 Apr 2025 | 15 Apr 2026 | TECHNOLOGY PROMOTION ASSOCIATION
168 | 5 | T5-HYGT013 | Hygro-Thermometer | Testo | 623 | 39609765/802 | TH25041779 | 19 Apr 2025 | 18 Apr 2026 | NATIONAL HEALTHCARE SYSTEMS CO.,LTD.
169 | 5 | T5-INCU002 | INCUBATOR AND RADIANT WARMER ANALYZER | FLUKE BIOMEDICAL | INCU II | 63250018 | L202501422-0001 | 5 Feb 2025 | 4 Feb 2026 | MIRACLE INTERNATIONAL TECHNOLOGY
170 | 5 | T5-INPT012 | Infusion Device Analyzer | FLUKE | IDA-1S | 4774885 | 25MD654 | 10 Apr 2025 | 9 Apr 2026 | TECHNOLOGY PROMOTION ASSOCIATION
171 | 5 | T5-INPT011 | Infusion Pump Tester | Fluke Biomedical | IDA-1S | 4605551 | - | - | -
172 | 5 | T5-INPT010 | Infusion Pump Tester | Fiuke Biomedical | IDA-1S | 4681683 | 25MD653 | 10 Apr 2025 | 9 Apr 2026 | TECHNOLOGY PROMOTION ASSOCIATION
173 | 5 | T5-LASR001 | LASER POWER/ENERGY METER | OPHIR | VEGA | 3096631 | EL-0024-24 | 1 Nov 2024 | 1 Nov 2025 | NATIONAL INSTITUTE OF METROLOGY
174 | 5 | T5-LUXM006 | LUX Meter | Extech | EA-33 | 200905406 | 25PH184 | 4 Apr 2025 | 3 Apr 2026 | TECHNOLOGY PROMOTION ASSOCIATION
175 | 5 | T5-ULTR001 | MULTI-PURPOSE, MULTI-TISSUE ULTRASOUND PHANTOM | SUN NUCLEAR | SONO403 | 802259-5417-1 | PM_ULTRPM12240001 | 1 Dec 2024 | 1 Dec 2025 | NHEALTH
176 | 5 | T5-OXYA004 | OXYGEN ANALYZER | MAXTEC | MAXO2+ | DL75099005 | 25MD728 | 2 May 2025 | 30 Apr 2026 | TECHNOLOGY PROMOTION ASSOCIATION
177 | 5 | T5-PHOT006 | Phototherapy Radiometer | Irradian | PR203 | 0020/0030 | 25MD655 | 17 Apr 2025 | 16 Apr 2026 | TECHNOLOGY PROMOTION ASSOCIATION
178 | 5 | T5-POUP006 | Portable Ultrasound therapy Tester | FLUKE BIOMEDICAL | UPM-DT-10PA | 9013PA1156 | - | - | -
179 | 5 | T5-PART015 | Pressure Calibrator | Fluke | 717 30G | 6227519 | - | - | -
180 | 5 | T5-PART011 | PRESSURE CALIBRATOR | FLUKE | 71730G | 4497951 | 25P1331 | 10 Apr 2025 | 10 Apr 2026 | TECHNOLOGY PROMOTION ASSOCIATION
181 | 5 | PRED006 | Pressure Data logger | Omega | OM-CP-PR140 | Q98218 | - | - | -
182 | 5 | T5-SOLM005 | SOUND LEVEL METER | BK PRECISION | 732A | 118G17128 | 25E3990 | 30 Apr 2025 | 29 Apr 2026 | QUALITY CALIBRATION
183 | 5 | T5-STOW006 | Stop Watch | Casio | HS-80TW | - | 25E1091 | 2 Apr 2025 | 1 Apr 2026 | TECHNOLOGY PROMOTION ASSOCIATION
184 | 5 | T5-INFR001 | Temperature Calibrator | Fluke | 4180 | B66860 | - | - | -
185 | 5 | T5-TEMC012 | Temperature Calibrator (Source) with RTD Probe | Ametek | CTC-155C/STC-102-A-030 | 673599-00627 | T25-0226 | 28 Apr 2025 | 27 Apr 2026 | UNITHAI GROUP
186 | 5 | T5-TEMT011 | TEMPERATURE CALIBRATOR | FLUKE | 54IIB | 43300345WS | DT25041778 | 19 Apr 2025 | 18 Apr 2026 | NATIONAL HEALTHCARE SYSTEMS CO.,LTD.
187 | 5 | TEMD010 | Temperature Data logger | OMEGA | OM-CP-HITEMP140-FP | Q92764 | - | - | -
188 | 5 | T5-PRED012 | TESTERS, PRESSURE DATALOGGER | OMEGA | OM-CP-PR140 | S67563 | - | - | -
189 | 5 | T5-VTSS006 | Vital Signs Simulator | RIGEL Medical | UNI-SIM | 44K-0025 | - | - | -
190 | 5 | T5-VTSS007 | VITALSIGHN SIMULATOR | Fluke | PROSIM 8 | 4778007 | 25MD656 | 4 Apr 2025 | 3 Apr 2026 | TECHNOLOGY PROMOTION ASSOCIATION
191 | 5 | T5-WEIS016 | Weight Set (M3, 1kg - 120 kg) | LS | M3, 1-20 KG | - | 25M688 | 3 Apr 2025 | 2 Apr 2026 | TECHNOLOGY PROMOTION ASSOCIATION
192 | 5 | T5-WEIS014 | Weights set F1 (1 g - 500 g) | Mettler Toledo | (1 g - 500 g) | 158880-1 | 25M687 | 3 Apr 2025 | 2 Apr 2026 | TECHNOLOGY PROMOTION ASSOCIATION
193 | 6 | T6-DEFA007 | Defibrillator Analyzer | Fluke Biomedical | IMPULSE 7000DP | 5011064 | 24MD1440 | 13 Sep 2024 | 12 Sep 2025 | TECHNOLOGY PROMOTION ASSOCIATION
194 | 6 | T6-TRAC009 | Digital Force Gauge | Sundoo | SH-1K | 5A20E02255 | 24B538 | 3 Sep 2024 | 2 Sep 2025 | TECHNOLOGY PROMOTION ASSOCIATION
195 | 6 | T6-OSCI007 | Digital Oscilloscope | RIGOL | DS1102E | DS1ET214410161 | 24E2862 | 3 Sep 2024 | 2 Sep 2025 | TECHNOLOGY PROMOTION ASSOCIATION
196 | 6 | T6-TACH009 | Digital Tachometer | Wachendorff | PLT200 | 1955757 | 24E2861 | 3 Sep 2024 | 2 Sep 2025 | TECHNOLOGY PROMOTION ASSOCIATION
197 | 6 | T6-ELSA008 | ELECTRICAL SAFETY ANALYZER | FLUKE | ESA612 | 4895012 | 24MD1443 | 13 Sep 2024 | 12 Sep 2025 | TECHNOLOGY PROMOTION ASSOCIATION
198 | 6 | T6-ELEA008 | Electrosurgery Analyzer | Fluke Biomedical | QA-ES III | 4983055 | 24MD1447 | 18 Sep 2024 | 17 Sep 2025 | TECHNOLOGY PROMOTION ASSOCIATION
199 | 6 | T6-FETM008 | Fetal Simulator | Fluke | PS320 | 5016023 | 24MD1439 | 16 Sep 2024 | 15 Sep 2025 | TECHNOLOGY PROMOTION ASSOCIATION
200 | 6 | T6-FLOT011 | FLOWMETER TESTER | DRYCAL | DEFENDER 510 | 176921 | 24MD1441 | 20 Sep 2024 | 19 Sep 2025 | TECHNOLOGY PROMOTION ASSOCIATION
201 | 6 | GASA010 | Gas Flow Analyzer | Fluke Biomedical | VT650 | 5054510 | - | - | -
202 | 6 | T6-GASI007 | GAS INDICATOR | RIKEN | FI-8000 | 52K0106301-5 | 24MD1438 | 21 Sep 2024 | 20 Sep 2025 | TECHNOLOGY PROMOTION ASSOCIATION
203 | 6 | T6-INFR003 | Infrared Temperature Calibrator | TEMPSENS | CALsys 37BB | C37BB/2020/182 | - | - | -
204 | 6 | T6-INPT013 | Infusion Pump Tester | Fluke Biomedical | IDA-5 | 5035557 | 24MD1445 | 4 Sep 2024 | 3 Sep 2025 | TECHNOLOGY PROMOTION ASSOCIATION
205 | 6 | T6-LUXM007 | LUX Meter | Extech | EA-33 | 200905410 | 24PH461 | 5 Sep 2024 | 4 Sep 2025 | TECHNOLOGY PROMOTION ASSOCIATION
206 | 6 | T6-OXYA005 | Oxygen Analyzer | MAXTEC | MAXO2+ | EL25799009 | 24MD1442 | 20 Sep 2024 | 19 Sep 2025 | TECHNOLOGY PROMOTION ASSOCIATION
207 | 6 | T6-PHOT007 | Phototherapy Radiometer | Irradian | PR203 | 0020/0033 | 24MD1631 | 10 Oct 2024 | 9 Oct 2025 | TECHNOLOGY PROMOTION ASSOCIATION
208 | 6 | T6-PART012 | PRESSURE CALIBRATOR | FLUKE | 717-30G | 4890007 | 24P3120 | 11 Sep 2024 | 10 Sep 2025 | TECHNOLOGY PROMOTION ASSOCIATION
209 | 6 | T6-PRED015 | Pressure Datalogger | Omega | OM-CP-PR140 | T19975 | 25P1599 | 28 Apr 2025 | 27 Apr 2026 | TECHNOLOGY PROMOTION ASSOCIATION
210 | 6 | T6-STOW009 | Quartz Stop watch | Casio | HS-80TW | - | - | - | -
211 | 6 | T6-SOLM007 | SOUND LEVEL METER | BK PRECISION | 732A | 118G17126 | 24E9017 | 5 Sep 2024 | 4 Sep 2025 | QUALITY CALIBRATION
212 | 6 | T6-TEMC013 | Temperature Calibrator (Source) | Ametex | RTC-158A | 705793-01497 | WB24095852 | 26 Sep 2024 | 25 Sep 2025 | NATIONAL HEALTHCARE SYSTEMS CO.,LTD.
213 | 6 | T6-TEMD012 | Temperature Data logger | Omege | OM-CP-Hitem140 | R27808 | 24l990 | 10 Sep 2024 | 9 Sep 2025 | TECHNOLOGY PROMOTION ASSOCIATION
214 | 6 | T6-TEMT012 | Temperature Master | FLUKE | 54IIB | 43161785WS | DT24095578 | 14 Sep 2024 | 13 Sep 2025 | NHEALTH
215 | 6 | T6-HYGT014 | Thermo-Hygrometer | Testo | Testo 623 | 39612130/904 | TH24095579 | 14 Sep 2024 | 13 Sep 2025 | NHEALTH
216 | 6 | T6-POUP008 | Ultrasound Power Meter | OHMIC Instruments | UPM-DT-10PA | 9013PA1229 | 24MD1446 | 11 Sep 2024 | 10 Sep 2025 | TECHNOLOGY PROMOTION ASSOCIATION
217 | 6 | T6-VTSS008 | Vital Signs Simulator | Fluke Biomedical | ProSim 8 | 5010075 | 24MD1444 | 17 Sep 2024 | 16 Sep 2025 | TECHNOLOGY PROMOTION ASSOCIATION
218 | 6 | T6-WEIS017 | Weight Set (M3, 1kg - 120 kg) | LS | M3, 1-20 KG | - | 24M1727 | 3 Sep 2024 | 2 Sep 2025 | TECHNOLOGY PROMOTION ASSOCIATION
219 | 6 | T6-WEIS019 | Weights Set | METTLER TOLEDO | Class F1 (1 g-500 g) | C104027710 | 24M1732 | 4 Sep 2024 | 3 Sep 2025 | TECHNOLOGY PROMOTION ASSOCIATION
220 | 7 | T7-DEFA008 | Defibrillator / Transcutaneous Pacer Analyzer | Fluke Biomedical | Impulse 7000DP | 6501028 | 24MD1544 | 25 Sep 2024 | 24 Sep 2025 | TECHNOLOGY PROMOTION ASSOCIATION
221 | 7 | T7-TRAC014 | Digital Force Gauge | Sundoo | SHB-1K | I925A00255 | 25B66 | 4 Feb 2025 | 3 Feb 2026 | TECHNOLOGY PROMOTION ASSOCIATION
222 | 7 | T7-OSCI010 | Digital Oscilloscope | RIGOL | DS1102Z-E | DS1ZE263308236 | EL02157/25 | 16 Jan 2025 | 15 Jan 2026 | PROFESSIONAL CALIBRATION & SEVICE
223 | 7 | T7-TACH011 | DIGITAL TACHOMETER | MONARCH | PLT200 | C1822951 | 25E417 | 3 Feb 2025 | 2 Feb 2026 | TECHNOLOGY PROMOTION ASSOCIATION
224 | 7 | T7-HYGT024 | Digital Thermo-Hygrometer | Testo | 608-H1 | 85218659 | H25-0007 | 21 Jan 2025 | 20 Jan 2026 | UNITHAI GROUP
225 | 7 | T7-ELEA010 | Electrosurgical Analyzer | RIGEL MEDICAL | Uni-Therm | 42R-0792 | 25MD340 | 21 Feb 2025 | 20 Feb 2026 | TECHNOLOGY PROMOTION ASSOCIATION
226 | 7 | T7-FLOT016 | FLOW METER TESTER | IMT | F1 | BG000189 | 25MD439 | 24 Mar 2025 | 23 Mar 2026 | TECHNOLOGY PROMOTION ASSOCIATION
227 | 7 | T7-FETM010 | Foetal Heart Simulator | VIAMED | V1000 | B783302 | 25MD254 | 7 Feb 2025 | 6 Feb 2026 | TECHNOLOGY PROMOTION ASSOCIATION
228 | 7 | T7-GASA014 | Gas Flow Analyzer | IMT | PF 300V | BA210900 | 25MD442 | 20 Mar 2025 | 19 Mar 2026 | TECHNOLOGY PROMOTION ASSOCIATION
229 | 7 | T7-GASI009 | Gas Indicator | Riken | FI-8000 | 4Z8060236EB | RWL-68-024 | 4 Mar 2025 | 3 Mar 2026 | RIKEN KEIKI CO.,LTD.
230 | 7 | T7-INFR006 | Infrared Temperature Calibrator | TEMPSENS | CALsys 37BB | C/37BB/2025/117 | T25-0179 | 1 Apr 2025 | 31 Mar 2026 | UNITHAI GROUP
231 | 7 | T7-INPT018 | Infusion Pump Analyzer | RIGEL MEDICAL | Multi-Flo | 45R-1163 | 25MD256 | 6 Feb 2025 | 5 Feb 2026 | TECHNOLOGY PROMOTION ASSOCIATION
232 | 7 | T7-LUXM008 | LUX Meter | Extech | EA-33 | 250105963 | l25-0005 | 20 Mar 2025 | 19 Mar 2026 | UNITHAI GROUP
233 | 7 | T7-OXYA009 | Oxygen Analyzer | Maxtec | MAXO2+ | KH30499039 | 25MD297 | 11 Feb 2025 | 10 Feb 2026 | TECHNOLOGY PROMOTION ASSOCIATION
234 | 7 | T7-PHOT012 | Phototherapy Radiometer | IRRADIAN | PR203 | D020/0066 | 25MD662 | 8 Apr 2025 | 7 Apr 2026 | TECHNOLOGY PROMOTION ASSOCIATION
235 | 7 | T7-PRED016 | Pressure Datalogger | Omega | OM-CP-PR140 | T13398 | 25P1596 | 28 Apr 2025 | 27 Apr 2026 | TECHNOLOGY PROMOTION ASSOCIATION
236 | 7 | T7-STOW012 | Quartz Stop Watch | CASIO | HS-70W | - | E25-0156 | 7 Mar 2025 | 6 Mar 2026 | UNITHAI GROUP
237 | 7 | T7-SOLM010 | Sound Level Meter | BK PRECISION | 732A | 118A25125 | SPR25030586-1 | 2 Apr 2025 | 1 Apr 2026 | SP METROLOGY SYSTEM
238 | 7 | T7-TEMT015 | Standard Thermometer | Fluke | 54IIB/80PK-1 | 66740076WS/See The Note 1 | TE25-0027 | 30 Jan 2025 | 29 Jan 2026 | MEASURETRONIX
239 | 7 | T7-TEMS001 | Temperature Calibrator | Graphtec | midi LOGGER GL840 | C30915711 | SPR25030345-1 | 24 Mar 2025 | 23 Mar 2026 | SP METROLOGY SYSTEM
240 | 7 | T7-TEMC017 | Temperature Calibrator (Source) | Ametex | CTC-155A | 717399-01782 | T25-0050 | 21 Jan 2025 | 20 Jan 2026 | UNITHAI GROUP
241 | 7 | T7-TEMD022 | Temperature Data logger | OMEGA | OM-CP-HITEM140-T8K | T15527 | 25I5000 | 5 May 2025 | 4 May 2026 | TECHNOLOGY PROMOTION ASSOCIATION
242 | 7 | T7-POUP009 | Ultrasound Power Meter | OHMIC Instruments | UPM-DT-10PA | 9013PA1426 | 25MD309 | 11 Feb 2025 | 10 Feb 2026 | TECHNOLOGY PROMOTION ASSOCIATION
243 | 7 | T7-VTSS010 | VITAL SIGHN SIMULATOR | Fluke Biomedical | ProSim 8 | 6439012 | 24MD2102 | 22 Oct 2024 | 21 Oct 2025 | TECHNOLOGY PROMOTION ASSOCIATION
244 | 7 | T7-WEIS023 | Weight Set (M3, 1kg - 120 kg) | LS | Class M3 | I1K04-25 | CM250055 | 13 Jan 2025 | 12 Jan 2026 | KING MONGKUT'S UNIVERSITY OF TECHNOLOGY THONBURI
245 | BEC | BEC-FLOT01 | FLOWMETER TESTER | DRYCAL | DEFENDER 510 | 184585 | 25MD316 | 17 Feb 2025 | 16 Feb 2026 | TECHNOLOGY PROMOTION ASSOCIATION
246 | BEC | BEC10CO2001 | CARBON DIOXIDE NITROGEN 10% | GASCO AFFILIATES,LLC. | PRECISION GAS MIXTURE | - | - | - | -
247 | BEC | BEC5CO2001 | CARBON DIOXIDE NITROGEN 5% | GASCO AFFILIATES,LLC. | PRECISION GAS MIXTURE | - | - | - | -
248 | BEC | BEC-DEFA001 | Defibrillator Analyzer | Fluke | Impulse 7000DP | 5193076 | 25MD313 | 14 Feb 2025 | 13 Feb 2026 | TECHNOLOGY PROMOTION ASSOCIATION
249 | BEC | BEC-TRAC001 | Digital Force Gauge | SUNDOO | SH-1K | 5A21C02391 | 25B87 | 11 Feb 2025 | 10 Feb 2026 | TECHNOLOGY PROMOTION ASSOCIATION
250 | BEC | BEC-TACH001 | Digital Tachometer | Monarch | PLT200 | C1952192 | 25E467 | 6 Feb 2025 | 5 Feb 2026 | TECHNOLOGY PROMOTION ASSOCIATION
251 | BEC | BEC-ELSA001 | Electrical Safety Analyzer | Fluke | ESA612 | 2595005 | 25MD314 | 13 Feb 2025 | 12 Feb 2026 | TECHNOLOGY PROMOTION ASSOCIATION
252 | BEC | BEC-WINJ001 | ELECTRONIC BALANCE | T-SCALE | EHB-600++ | 109030031006 | - | - | -
253 | BEC | BEC-ELEA001 | Electrosurgical Analyzer | Fluke | QA-ES III | 5458007 | 25MD323 | 17 Feb 2025 | 16 Feb 2026 | TECHNOLOGY PROMOTION ASSOCIATION
254 | BEC | BEC-FETM001 | Fetal Simulator | Fluke | PS-320 | 5320019 | 25MD317 | 13 Feb 2025 | 12 Feb 2026 | TECHNOLOGY PROMOTION ASSOCIATION
255 | BEC | BEC-GASA001 | Gas Analyzer | Fluke | VT650 | 5142900 | 25MD321 | 14 Feb 2025 | 13 Feb 2026 | TECHNOLOGY PROMOTION ASSOCIATION
256 | BEC | BEC-GASI001 | Gas Indicator | Riken | FI-8000 | 52K0107001-15 | 25MD320 | 17 Feb 2025 | 16 Feb 2026 | TECHNOLOGY PROMOTION ASSOCIATION
257 | BEC | BEC-HYGT001 | HYGRO-THERMOMETER | TESTO | 623 | 39615267 | TH25010656 | 20 Feb 2025 | 19 Feb 2026 | NATIONAL HEALTHCARE SYSTEMS CO.,LTD.
258 | BEC | BEC-INFR001 | Infrared Temperature Calibrator | TEMPSENS | CALsys 37BB | C37BB/2021/550 | T25-0103 | 13 Feb 2025 | 12 Feb 2026 | UNITHAI GROUP
259 | BEC | BEC-INPT001 | Infusion Pump Tester | Fluke | IDA5 | 5184018 | 25MD319 | 21 Feb 2025 | 20 Feb 2026 | TECHNOLOGY PROMOTION ASSOCIATION
260 | BEC | BEC-LUXM001 | LUX METER | EXTECH | EASY VIEW 33 | 210105093 | 25PH75 | 6 Feb 2025 | 5 Feb 2026 | TECHNOLOGY PROMOTION ASSOCIATION
261 | BEC | BEC-OSCI001 | Oscilloscope | RIGOL | DS1102E | DS1ET224405038 | 25E468 | 5 Feb 2025 | 4 Feb 2026 | TECHNOLOGY PROMOTION ASSOCIATION
262 | BEC | BEC-OXYA001 | Oxygen Analyzer | Maxtec | Max O2+ | FH73799008 | - | - | -
263 | BEC | BEC-PHOT001 | Phototherapy Radiometer | IRRADIAN | PR203 | D020/0018 | 25MD318 | 19 Feb 2025 | 18 Feb 2026 | TECHNOLOGY PROMOTION ASSOCIATION
264 | BEC | BEC-POUP001 | Portable Ultrasound therapy Tester | OHMIC | UPM-DT-10PA | 9013PA1261 | - | - | -
265 | BEC | BEC-PART01 | Pressure Calibrator | Fluke | 717-30G | 5576263 | 25P700 | 19 Feb 2025 | 18 Feb 2026 | TECHNOLOGY PROMOTION ASSOCIATION
266 | BEC | BEC-PRED001 | Pressure Data logger | Omega | OM-CP-PR140-NPT | R79489 | 25P701 | 19 Feb 2025 | 18 Feb 2026 | TECHNOLOGY PROMOTION ASSOCIATION
267 | BEC | BEC-SOLM001 | Sound Level Meter | BK Precision | 732A | 118G17123 | 25E1717 | 24 Feb 2025 | 24 Feb 2026 | QUALITY CALIBRATION
268 | BEC | BEC-STOW001 | STOP WATCH | CASIO | HS-70W-1 | J101Q01 | 25E466 | 6 Feb 2025 | 5 Feb 2026 | TECHNOLOGY PROMOTION ASSOCIATION
269 | BEC | BEC-TEMC001 | Temperature Calibrator (Source) | Ametek | CTC-155C | 685492-00898 | T25-0102 | 12 Feb 2025 | 11 Feb 2026 | UNITHAI GROUP
270 | BEC | BEC-TEMD001 | TEMPERATURE DATALOGGER | OMEGA | OM-CP-Hitemp140 | R76261 | 25I274 | 26 Feb 2025 | 25 Feb 2026 | TECHNOLOGY PROMOTION ASSOCIATION
271 | BEC | BEC-TEMT001 | Temperature Master | Fluke | 54IIB | 48410140WS | DT25020655 | 14 Feb 2025 | 13 Feb 2026 | NATIONAL HEALTHCARE SYSTEMS CO.,LTD.
272 | BEC | BEC-VTSS001 | VITAL SIGHN SIMULATOR | Fluke Biomedical | ProSim 8 | 5461502 | 25MD312 | 14 Feb 2025 | 13 Feb 2026 | TECHNOLOGY PROMOTION ASSOCIATION
273 | BEC | BEC-WEIS001 | Weight Set (M3, 1kg - 120 kg) | LS | CLASS M1 | - | 25M323-25M327 | 11 Feb 2025 | 10 Feb 2026 | TECHNOLOGY PROMOTION ASSOCIATION
274 | BEC | BEC-WEIS002 | Weight Set LAB (F1, 1 g - 500 g) | LS | CLASS F1 | SS1K10-21 | 25M333 | 5 Feb 2025 | 5 Feb 2026 | TECHNOLOGY PROMOTION ASSOCIATION
275 | NE | G4-10CO2-001 | CARBON DIOXIDE NITROGEN 10% | PRECISION GAS MIXTURE | GASCO AFFILIATES,LLC. | - | GBJ-35-10-5 | 16 May 2024 | 14 May 2026 | GASCO AFFILIATES,LLC.
276 | NE | G4-5CO2-001 | CARBON DIOXIDE NITROGEN 5% | GASCO AFFILIATES,LLC. | PRECISION GAS MIXTURE | - | - | - | -
277 | NE | G4-TEMD001 | Data logger with Sensor | Omega | OM-CP-Hitemp140 | R76280 | 24I1202 | 5 Nov 2024 | 4 Dec 2025 | TECHNOLOGY PROMOTION ASSOCIATION
278 | NE | G4-DEFA001 | Defibrillator Analyzer | Fluke | Impulse 7000DP | 5481060 | 24MD1704 | 18 Oct 2024 | 17 Oct 2025 | TECHNOLOGY PROMOTION ASSOCIATION
279 | NE | G4-TRAC001 | Digital Force Gauge | SUNDOO | SH-1K | 5A21H02425 | 24B638 | 24 Oct 2024 | 23 Oct 2025 | TECHNOLOGY PROMOTION ASSOCIATION
280 | NE | G4-OSCI001 | Digital Oscilloscope | RIGOL | DS1102E | DS1ET224405047 | 24E3324 | 16 Oct 2024 | 15 Oct 2025 | TECHNOLOGY PROMOTION ASSOCIATION
281 | NE | G4-TACH001 | Digital Tachometer | Monarch | PLT200 | C1952193 | 24E3322 | 16 Oct 2024 | 15 Oct 2025 | TECHNOLOGY PROMOTION ASSOCIATION
282 | NE | G4-ELSA001 | Electrical Safety Analyzer | Fluke | ESA612 | 5370040 | 24MD1674 | 18 Oct 2024 | 17 Oct 2025 | TECHNOLOGY PROMOTION ASSOCIATION
283 | NE | G4-ELEA001 | Electrosurgical Analyzer | Fluke | QA-ES IIl | 5473032 | 24MD1709 | 22 Oct 2024 | 21 Oct 2025 | TECHNOLOGY PROMOTION ASSOCIATION
284 | NE | G4-FETM001 | Fetal Simulator | Fluke | PS320 | 5464046 | 24MD1672 | 21 Oct 2024 | 20 Oct 2025 | TECHNOLOGY PROMOTION ASSOCIATION
285 | NE | G4-FLOT001 | Flow meter Tester | Mesalabs | Defender 510 H | 184599 | - | - | -
286 | NE | G4-GASA001 | Gas Flow Analyzer | Fluke | VT650 | 5417039 | 24MD1705 | 25 Oct 2024 | 24 Oct 2025 | TECHNOLOGY PROMOTION ASSOCIATION
287 | NE | G4-GASI001 | Gas Indicator | Riken Keiki | FI-8000 | 52L0003701-7 | 24MD1703 | 29 Oct 2024 | 28 Oct 2025 | TECHNOLOGY PROMOTION ASSOCIATION
288 | NE | G4-HYGT001 | HYGRO-THERMOMETER | Testo AG | testo 623 | 39615285/1220 | TH24106553 | 23 Oct 2024 | 22 Oct 2025 | NATIONAL HEALTHCARE SYSTEMS CO.,LTD.
289 | NE | G4-INFR001 | Infrared Temperature Calibrator | TEMPSENS | CALsys 37BB | C37BB/2021/545 | - | - | -
290 | NE | G4-INFR002 | Infrared Temperature Calibrator | TEMPSENS | CALsys 37BB | C37BB/2021/544 | T24-0669 | 22 Oct 2024 | 22 Oct 2025 | UNITHAI GROUP
291 | NE | G4-INDA001 | Infusion Device Analyzer | Fluke Biomedical | IDA-5 | 5474003 | 24MD1707 | 18 Oct 2024 | 17 Oct 2025 | TECHNOLOGY PROMOTION ASSOCIATION
292 | NE | G4-LUXM001 | LUX Meter | Extech | EA33 | 210105095 | 24PH534 | 18 Oct 2024 | 17 Oct 2025 | TECHNOLOGY PROMOTION ASSOCIATION
293 | NE | G4-OXYA001 | OXYGEN ANALYZER | MAXTEC | maxO2+ | FH73899023 | 24MD1706 | 28 Oct 2024 | 27 Oct 2025 | TECHNOLOGY PROMOTION ASSOCIATION
294 | NE | G4-PHOT001 | Phototherapy Radiometer | International Light Technologies | ILT750-BILI | 00087 | 24MD1672 | 18 Oct 2024 | 17 Oct 2025 | TECHNOLOGY PROMOTION ASSOCIATION
295 | NE | G4-PART001 | PRESSURE CALIBRATOR | FLUKE | 717-30G | 5348170 | 24P3741 | 29 Oct 2024 | 28 Oct 2025 | TECHNOLOGY PROMOTION ASSOCIATION
296 | NE | G4-PRED005 | Pressure Data logger | OMEGA | OM-CP-PR140 | R77352 | 24P3739 | 21 Oct 2024 | 20 Oct 2025 | TECHNOLOGY PROMOTION ASSOCIATION
297 | NE | G4-SOLM001 | Sound Level Meter | BK Precision | 732A | 118D21129 | 24E11091 | 30 Oct 2024 | 29 Oct 2025 | QUALITY CALIBRATION
298 | NE | G4-STOW002 | stop wacth | Casio | HS-70W | - | 24E3323 | 16 Oct 2024 | 15 Oct 2025 | TECHNOLOGY PROMOTION ASSOCIATION
299 | NE | G4-STOW001 | Stop Watch | Casio | HS-70W | J101Q01-1 | 24E3345 | 17 Oct 2024 | 16 Oct 2025 | TECHNOLOGY PROMOTION ASSOCIATION
300 | NE | G4-STOW003 | Stop watch | Casio | HS-70W | - | 24E3344 | 17 Oct 2024 | 16 Oct 2025 | TECHNOLOGY PROMOTION ASSOCIATION
301 | NE | G4-SYRC001 | Syringe Calibrator | PISTPN medical | PCS-300/az | 2021-23036 | 24MD1702 | 30 Oct 2024 | 29 Oct 2025 | TECHNOLOGY PROMOTION ASSOCIATION
302 | NE | G4-TEMC001 | Temperature Calibrator (Source) | Ametek | CTC155C230AM01F | 688136-00946 | T24-0668 | 28 Oct 2024 | 27 Oct 2025 | UNITHAI GROUP
303 | NE | G4-TEMT001 | Temperature Tester | Fluke | 54IIB | 43161786WS | DT24106552 | 23 Oct 2024 | 22 Oct 2025 | NATIONAL HEALTHCARE SYSTEMS CO.,LTD.
304 | NE | G4-ULPM001 | Ultrasound Power Meter | Ohmic Instrument | UPM-DT-10PA | 9013PA1280 Rev C | 24MD1708 | 18 Oct 2024 | 17 Oct 2025 | TECHNOLOGY PROMOTION ASSOCIATION
305 | NE | G4-VTSS001 | VITAL SIGHN SIMULATOR | Fluke Biomedical | ProSim 8 | 5480052 | 24MD1673 | 18 Oct 2024 | 17 Oct 2025 | TECHNOLOGY PROMOTION ASSOCIATION
306 | NE | MCH-VTSS001 | VITAL SIGHN SIMULATOR | ProSim 8 | Fluke Biomedical | 6332014 | - | - | -
307 | NE | G4-WINJ001 | WEIGHT SCALE FOR INJECTOR | ViBRA | AJ-620E | 211004194 | 24B640 | 25 Oct 2024 | 24 Oct 2025 | TECHNOLOGY PROMOTION ASSOCIATION
308 | NE | G4-WEIS001 | Weight Set (M3, 1kg - 120 kg) | LS | Class M1 | I20K27-21 to I20K32-21 | 24M2018 | 25 Oct 2024 | 24 Oct 2025 | TECHNOLOGY PROMOTION ASSOCIATION
309 | NE | G4-WEIS002 | Weights set (1 g-500 g) | LS | Class F1 | SS1K02-21 | 24M2017 | 25 Oct 2024 | 24 Oct 2025 | TECHNOLOGY PROMOTION ASSOCIATION
310 | PAO1 | PAO1-DEFA001 | Defibrillator Analyzer | RIGEL MEDICAL | UniPulse 400 | 49R-1427 | 25MD338 | 18 Feb 2025 | 17 Feb 2026 | TECHNOLOGY PROMOTION ASSOCIATION
311 | PAO1 | PAO1-TACH001 | Digital Tachometer | Monarch | PLT200 | C1822213 | 24E3728 | 26 Nov 2024 | 25 Nov 2025 | TECHNOLOGY PROMOTION ASSOCIATION
312 | PAO1 | PAO1-HYGT001 | Digital Thermo-Hygrometer | TESTO | 625 | 84672298 | TH25010303 | 22 Jan 2025 | 21 Jan 2026 | NHEALTH
313 | PAO1 | PAO1-FETM001 | Fetal Simulator | Fluke | PS-320 | 6545100 | 24MD1545 | 24 Sep 2024 | 23 Oct 2025 | TECHNOLOGY PROMOTION ASSOCIATION
314 | PAO1 | PAO1-GASA001 | Gas Flow Analyzer | Fluke Biomedical | VT650 | 6515712 | 24MD1543 | 30 Sep 2024 | 29 Sep 2025 | TECHNOLOGY PROMOTION ASSOCIATION
315 | PAO1 | PAO1-INFR001 | Infrared Temperature Calibrator | CALsys 37BB | TEMPSENS | C/37BB/2024/112 | T24-0561 | 7 Oct 2024 | 6 Oct 2025 | UNITHAI GROUP
316 | PAO1 | PAO1-WEIS001 | Standard Weight (1kg - 120 kg) | ADM | M3, (1kg - 120 kg) | - | SPR24100140-1 | 9 Oct 2024 | 8 Oct 2025 | SP METROLOGY SYSTEM
317 | PAO1 | PAO1-TEMC001 | Temperature Calibrator | Ametex | CTC-155C | 714827-01704 | T24-0658 | 21 Oct 2024 | 20 Oct 2025 | UNITHAI GROUP
318 | PAO1 | PAO1-TEMT001 | Temperature Tester | TESTO | 440 dP | 84890816 | TH25010302 | 22 Jan 2025 | 21 Jan 2026 | NHEALTH
319 | PAO1 | PAO1-VTSS001 | Vitalsign Simulator | RIGEL MEDICAL | UNI-SiM | 03S-0167 | 25MD213/1 | 7 Mar 2025 | 6 Mar 2026 | TECHNOLOGY PROMOTION ASSOCIATION
320 | PAO2 | PAO2-VTSS001 | Vital Signs Simulator | RIGEL MEDICAL | UNI-SiM | 04S-0776 | 25MD541 | 19 Mar 2025 | 18 Mar 2026 | TECHNOLOGY PROMOTION ASSOCIATION
321 | PAO2 | PAO2-VTSS002 | Vital Signs Simulator | RIGEL MEDICAL | UNI-SiM | 04S-0777 | 25MD542 | 2025-03-20 | 2025-09-24 | TECHNOLOGY PROMOTION ASSOCIATION
322 | PAO2 | PAO2-VTSS003 | Vital Signs Simulator | RIGEL MEDICAL | UNI-SiM | 04S-0778 | 25MD543 | 2025-03-20 | 2025-09-23 | TECHNOLOGY PROMOTION ASSOCIATION
323 | PAO2 | PAO2-VTSS004 | Vital Signs Simulator | RIGEL MEDICAL | UNI-SiM | 04S-0779 | 25MD544 | 2025-03-20 | 2025-09-25 | TECHNOLOGY PROMOTION ASSOCIATION